# Site Energy and Water Management Narrative Instructions

Federal agencies must report annually on their compliance with initiatives to improve energy efficiency, water efficiency, reduce utility costs, lower greenhouse gas emissions, and increase savings for U.S. taxpayers (42 U.S.C. § 17143 and 42 USC 8253). More information on these requirements and their citations can be found here. The Dashboard collects both the data and narrative necessary to report on the Department of Energy’s compliance with energy and water management requirements. The Site Energy and Water Management Narrative Instructions serve as a resource for developing the narrative. Sites should ensure consistency between the narrative, reported Dashboard data, and other major documents and initiatives. This includes publications and data reported in other systems, such as the Federal Automotive Statistical Tool (FAST), Facilities Information Management System (FIMS), Annual Site Environmental Reports, Federal Procurement Data System (FPDS), and budget reports.

This document provides instructions for DOE sites to complete their Site Energy and Water Management Narratives. Site narratives support the FY 2026 data submission and thus should reflect FY 2026 activities. The instructions focus on information needed to complete statutory reporting requirements. Sites are only required to complete a narrative for Energy Management, Water Management, and Renewable Energy narrative sections if the reported year-over-year data increases or decreases by more than 5%. If there is a less than 5% fluctuation in data, sites do not need to provide a narrative for the respective section. Sites are only required to fill out the Investments: Facilities and Workforce narrative if they have a relevant project. Like previous years, the narrative is due to the Dashboard within the Energy Management, Water Management, Renewable Energy, and the Investments: Facilities and Workforce sections of the narrative module. Sites have the option to provide narratives for remaining narrative categories: Executive Summary, Waste Management, Fleet Management, Sustainable Buildings, Acquisition & Procurement, Indirect Emissions, Fugitives & Refrigerants, Electronic Stewardship & Data Centers, and Adaptation & Resilience.

To submit a narrative, sites will use the narrative module in the Dashboard and approve their plan via the Dashboard’s completion process. Direct entry into the Dashboard is required. If you wish to enhance the format of the narrative, please enter information in the Dashboard’s narrative module, then download the report and make any necessary formatting changes. Sites can then upload this new version as a Word or PDF with supporting documents to the Executive Summary category of the narrative module. The Dashboard data and the narrative are both due November 20, 2026.

To help with required reporting, sites are encouraged to review resources within the Dashboard’s Supporting Resources page. Sections within the Dashboard User Guide are being updated to help sites with reporting. For questions regarding reporting, please email sustainability@hq.doe.gov.

Below are the required narrative sections that sites must report on if the data increases or decreases by more than 5% year over year:

- Energy Management

  - Goal Subject Buildings

Discuss any extenuating factors that are impacting site progress toward the energy intensity reductions reported in FY 2026.  Explain any variances of greater than 5% from the prior year in British thermal unit (Btu), gross square footage (GSF), or Btu/GSF.

Example: In FY 2026, Hawkins National Laboratory experienced a very cold winter which resulted in increased natural gas consumption for space heating. FY 2025 was a more typical winter, resulting in an increase of about 20 percent in natural gas consumption year over year.

  - Goal-Excluded Facilities
Explain any variances of greater than 5% from the prior year in Btu consumed or gross square footage of goal-excluded facilities.

Example: Hawkins’ supercomputer came online in FY 2025 and was fully functional in FY 2026. The supercomputer is projected to double campus electricity consumption.

  - Vehicles and Equipment

Discuss trends pertaining to this category of fuel use for non-fleet vehicles and other equipment not captured by the Federal Automotive Statistical Tool (FAST) reporting system.  Explain any variances of greater than 5% from the prior year in Btu consumed.

Example: Hawkins experienced a several day site-wide outage in August 2026. As a result of the outage, the total site V&E fuel consumption increased by more than 25% to power the onsite diesel generators.

- Water Management

  - Discuss any extenuating factors that may be skewing site progress toward potable water intensity reductions reported in FY 2026. Explain any variances of greater than 5% from the prior year in gallons (Gal), GSF, or Gal/GSF.

Example: Hawkins decreased its potable water use intensity by 8 percent compared to FY 2025 and by 40.5 percent compared to the FY 2007 baseline. Hawkins continues to implement water conservation and efficiency measures. The large YOY decrease can mostly be attributed to a large leak fix in FY 2026.

- Renewable Energy

  - On-Site Generated Renewable Energy
Explain any variances of greater than 5% from the prior year in renewable electricity generated from on-site projects. If applicable, highlight specific recent projects contributing to increases in on-site generation from renewable energy.

Example: Hawkins installed solar panels on the roof of its newly constructed Intraplanetary Parallel Processing Laboratory building; as a result, on-site renewable energy increased by 9%.

  - Purchased Renewable Energy
Discuss highlights of major purchases and approaches taken to obtain renewable energy through purchases which may have contributed to a variance of greater than 5% from the prior year.

Example: In FY 2026, Hawkins decreased purchased energy through Renewable Energy Certificate (REC) purchases by 34%. This was primarily because REC prices increased to $40 per MWh, making the purchase of RECs prohibitive.

- Investments: Facilities & Workforce

Sites are required to report energy and water projects. Typically, these projects are identified as part of EISA audits of which 50% are to be funded by ESPCs within two years of identification. 

If your site awarded or implemented a new project or task order during FY 2026, provide the following information for each project:

  - Project and Funding Vehicle: Describe the project and identify the funding vehicle used (e.g., Energy Savings Performance Contract (ESPC), Utility Energy Services Contract (UESC), Direct Agency Obligations, or other funding type.) If there is a new task order executed during FY 2026, please include this information.

  - Project Status and Timeline: Provide the current project status and timeline for award and implementation/construction.

  - Project Costs: Provide the estimated total project costs.

  - Estimated Savings: Provide the estimated energy, water, and other utility savings as well as cost savings.

# Appendix A – Resources

Statutory Requirement Resources:

- DOE Energy and Water Management Requirements Matrix

- DOE Energy and Water Management Goals Table

- DOE Energy and Water Management Reporting Requirements Crosswalk

Dashboard Training Resources:

- Dashboard Overview

- DOE Dashboard User Guide

- Data Entry

- QA/QC and Change Requests

- Creating a Report

Note: Resources may not reflect recent changes made to the Dashboard. Please review the date on each resource to determine when these resources were developed. As time allows, these resources will be updated to align with recent changes.

# Appendix B – Reporting Schedule

The following schedule shows the dates and deadlines for reporting into DOE’s Energy and Water Dashboard. Timely data submission is necessary to produce reports that meet Departmental reporting requirements. For each database or report, the closing or reporting deadline is highlighted.

Table B.1 – Energy and Water Dashboard

| Date(s) | Action/Event |
| --- | --- |
| February 2026 | Dashboard opened for FY 2026 data entry. |
| September 22, 2026 | Efficiency and Environment Working Group (EEWG) Reporting Assistance Kickoff meeting. |
| October 2026 | End of year FIMS basic facility information uploaded to Dashboard. |
| October 13 – November 17, 2026 | EEWG Working Group Reporting Assistance Open Help Calls. |
| October 23, 2026 | (Optional) FY 2026 Biobased Product Purchases Workbook uploaded within the Narrative’s Acquisition and Procurement section of the Dashboard by sites. |
| November 20, 2026 | FY 2026 Dashboard data, including the (optional) FY 2026 Sustainable Acquisition Contracts workbook, are due with appropriate level(s) of approval. If not using the Dashboard approval process, be sure to upload a completed Dashboard Data Accuracy Self-Certification. FY 2026 Energy and Water Management Narrative, Excluded Buildings Self-Certification, and optional Plan Signature Document are due with appropriate level(s) of approval. |
| November 21 – December 31, 2026 | Jade may reach out to sites with data questions or seeking follow-up information about site data or narrative. |
| March 31, 2027 | EISA S432 data including EISA Evaluations and efficiency and conservation measures due in the respective Dashboard modules. Additionally, Facility Benchmarking is due in Portfolio Manager. |

# Appendix C – Reporting FAQ

## General Dashboard

Question: What is the data approval and certification process for my site?

Answer: Generally, site users submit, a site manager approves, then the site office approves, and the data are then considered final. Some sites have different approval steps. If you don’t use the approval process in the Dashboard, you must submit a Dashboard Data Accuracy Self-Certification Letter. You can submit the letter and check your approval structure in the dashboard under Data à Completion Status.

Question: How can I submit a change request?

Answer: Select the row you would like to edit. The data will populate the entry form but will be locked for editing. Click the “Create Change Request” button at the bottom of the page. The data entry form will unlock and allow for edits. Required: Enter a justification and one additional email address for a manager, site office, or headquarters official. Optional: Upload supporting documents. Submit your request. You can also view a video demonstrating these steps under Supporting Resources > Training Files. Note: You can’t submit a change request for the facility goal category because this data is pulled from the FIMS database.

Question: Why do I have flagged data in QA/QC? How do I address the flagged data notification on my homepage? Why does the Dashboard flag ± 10% changes while the narrative calls for explaining changes that are just ± 5%?

Answer: The Dashboard automatically flags historical data anomalies. The threshold for flagging is a ± 10% change from the previous year. Click on the review link to access flagged requests and select “Launch QA/QC” to see a graph depicting year over year changes. Please work on reviewing flags and prioritize correcting current FY data. If something is flagged based on historical data anomalies, site users should double check if the information is correct. If it is correct, submit a justification. If it is incorrect, users should submit a change request.

The Dashboard flagging capacity helps users identify possible errors in data and the threshold has been set at 10% to capture significant changes. The Energy and Water narrative instructions mimic FEMP’s Annual Energy Report guidance and will be used to help DOE understand factors driving Departmental data changes.

Question: How do I justify flagged data?

Answer: Access your flagged data, then select “Launch the QA/QC” to see a graph depicting year over year changes. Double click on the red diamond indicating the data you need to justify, add a justification, and submit. A Dashboard admin will approve the request.

Question: Are there goals that sites should achieve in each respective data category?

Answer: Sites should work on improving efficiency year over year for relevant data categories (e.g., reduce water use intensity in FY 2027 from FY 2026.) The DOE Energy and Water Management Goals Table shows goals that align with statutory requirements

Question: Will the Comprehensive Scorecard and OMB Scorecards reflect updated goals?

Answer: Due to limited resources and other development priorities, updating these features is not a top priority. Please work to achieve YOY progress in relevant data categories.

## Data Module

Question: Which data entry sections are required vs. optional?

Answer: The following sections are required for reporting:

- Energy

- Water

- Onsite Renewable Generation Systems

- Purchased Renewable Energy

- Facility Goal Category

- Facility Metering Status

- EISA S432 Evaluations (Data due March)

- New/Major Renovation Building Design

- Municipal Solid Waste

- Wastewater Treatment

- Non-Fleet Vehicles & Equipment Fuel

- Fugitives & Refrigerants

- Efficiency & Conservation Measures (Data due March)

- Appropriations/Direct Obligations

- Training & Education

Please consult the DOE Energy and Water Management Reporting Requirements Crosswalk for more information on which data fields within these sections are specifically required.

## Narrative Module

Question: If our site does not have anything to report for the required narrative portion, how should our site indicate this?

Answer: Please indicate that your data did not increase or decrease by more than 5%, mark the narrative module as complete, and complete the normal narrative approval process.

Question: Which Energy and Water Management narrative sections are required vs. optional?

Answer: The following sections have been marked as optional from the Energy and Water Management Narrative instructions to streamline reporting.

- Executive Summary

- Waste Management

- Fleet Management

- Sustainable Buildings

- Acquisition & Procurement Narrative (Optional workbooks should still be uploaded to this page, if submitted)

- Indirect Emissions

- Fugitives & Refrigerants

- Electronic Stewardship & Data Centers

- Adaptation & Resilience

Question: How do I complete the Narrative?

Answer: Once you have checked the “Marked Complete” box for each narrative category, select the “Complete Narrative” button. If you have the responsibility for approval, you will then have the option to “approve” or “reject” the narrative (on the right-hand side). The narrative can also be approved via the Completion Status page and should have all levels of approval like the

Dashboard data.

## Facilities/Buildings

Question: What are the requirements for Sustainable Buildings?

Answer: DOE O 413.3C no longer includes the previous 25,000 GSF High-Performance Sustainable Buildings (HPSB)/Guiding Principles requirement. DOE O 430.1C requires sites to report sustainable building status through FIMS. Although DOE O 430.1C references 5,000 GSF, the DOE O 430.1C is intended to align with current FIMS and Federal Real Property Portfolio guidance, which has a reporting threshold of 25,000. ​

Question: What is the difference between goal subject/excluded buildings and covered/non-covered buildings?​

Answer: Goal Subject and Excluded buildings pertain to energy efficiency goals that stem from 42 U.S.C. § 8253(f)(1). FEMP exclusion guidance lists reasons when a building can be excluded (e.g., High Energy Mission Specific Facilities (HEMSF)). Energy from excluded buildings is excluded from Departmental energy reduction goals. ​

Covered and Non-Covered buildings pertain to EISA §432 reporting. Sites designate facilities that consume 75% of the site's total energy as covered and conduct audits on these facilities. Non-covered buildings are the remaining 25% of buildings. These buildings are not required to be audited under EISA §432. If a building is excluded from energy reduction goals, it does not mean that it is a non-covered building. Many times, HEMSFs are EISA covered buildings, since these buildings are needed to get the site to a status of 75% covered. ​

Renewable Energy

Question: Are there any requirements for RECs if we buy RECs to cover the 7.5% renewable requirements?

Answer: The requirements are as follows:​

- The generator must meet the definition of renewable in statute 42 U.S.C.§15852. ​

- RECs must be generated by facilities placed in service within 15 years prior to the start of the reporting fiscal year. ​

- RECs must be produced six months prior to the beginning of the fiscal year through three months after the end of the fiscal year. For RECs to count in FY 2026 reporting, they must have been produced between April 1, 2025, and Jan. 1, 2027. ​

- The provider should send attestation documentation with the type of generation, generator’s ZIP code and placed in service date, generation date, etc.​

- Third-party certification (e.g., Green-e) is recommended as a best practice to ensure that the RECs are not being double counted. ​

## Acquisition & Procurement

Question: When and how do I use the Sustainable Acquisition Contracts Workbook?

Answer: For FY26 reporting, the workbook is optional, but sites are welcome to still complete and submit the workbook. All service and construction contract actions that cannot be reported in the Federal Procurement Data System (FPDS) should be reported in the Sustainable Acquisition Contracts Workbook.  Do not submit twice. The workbook can be found within the Supporting Resources section of the Dashboard. Please work with your site's Contracting Officer to ensure FPDS is not already being utilized. If you have any questions, please reach out to Shab Fardanesh in EHSS-11 at shabnam.fardanesh@hq.doe.gov.

Question: When do I use the Biobased Product Purchases Workbook?

Answer: For FY26 reporting, the workbook is optional, but sites are welcome to complete and submit the workbook. If the original contract(s) has the “Recovered Materials/Sustainability” field coded for any of the available options that include the wording ‘bio-based”, then the Biobased Product Purchases Workbook should be submitted. The workbook can be found within the Supporting Resources section of the Dashboard. Please work with your site's Contracting Officer to ensure FPDS is not already being utilized. If you have any questions, please reach out to Shab Fardanesh in EHSS-11 at shabnam.fardanesh@hq.doe.gov.

Question: Where do I submit the Sustainable Acquisition Contracts and Biobased Product Purchases workbooks?

Answer: The optional Sustainable Acquisition Contracts and Biobased Product Purchases workbooks are to be submitted to the Site Energy and Water Management Narrative module’s Acquisition & Procurement section under “Supporting Documents”